## Slide 1: Cross-Rack-Aware Updates in Erasure-Coded Data Centers
Zhirong Shen, Patrick P. C. Lee
The Chinese University of Hong Kong
ICPP 2018

## Slide 2: Background
Properties of modern data centers (DCs)
  Failures are prevalent
  Hierarchical topological structure, with nodes organized in racks
  Cross-rack bandwidth is limited
Rack
Rack
Rack
Network Core
Node
Hierarchical topology of DC
Cross-rack bandwidth is the bottleneck!

## Slide 3: Erasure Coding
Erasure coding: a promising technique for fault tolerance
  Minimum data redundancy via “data encoding”
  Higher reliability with same storage redundancy than replication
  Deployed in Google, Azure, Facebook’s data centers
    e.g., Azure reduces redundancy from 3x (replication) to 1.33x  PBs saving
Construction of erasure coding:
  Encode: Generate n-k parity chunks from k data chunks
  Decode: Any k out of n chunks can recover original file
File
A
B
A
B
A+B
A+2B
Encode
Decode
A
B
(n, k) = (4, 2)

## Slide 4: Updates in Erasure Coding
Practical erasure codes satisfy linearity
  A parity chunk is a linear combination of k data chunks in Galois Field arithmetic
  e.g., parity chunk Pj = a1jD1 + a2jD2 + a3jD3 + a4jD4
  k = 4, coefficients aij’s, and data chunk Di’s
Delta-based update:
  If D1 is updated to D1’
  Pj ’= a1jD1’ + a2jD2 + a3jD3 + a4jD4 = Pj + a1j(D1’- D1)
data delta chunk
parity delta chunk

## Slide 5: High Update Penalty
Updates are common (e.g., in Yahoo! and Microsoft DCs)
Existing DCs store n chunks in n nodes in distinct racks to maximize rack-level fault tolerance
Every data chunk update triggers n-k parity chunk updates
   High cross-rack update traffic
Rack
Rack
Rack
data node
parity node
update
parity node

## Slide 6: Motivation
Rack failures rarely happen in practice
  e.g., Only 20 rack failures vs 1000 node failures per year in Google DC
Idea: store n chunks in r < n racks
  Aggregate update traffic within each rack
  Trade rack-level fault tolerance for less cross-rack update traffic
Literature on erasure coding aims for mitigating repair traffic
Question: Can we mitigate cross-rack update traffic?

## Slide 7: Our Contributions
Cross-rack-Aware Update (CAU), a general technique to reduce cross-rack update traffic in DCs
  Selective parity updates
  Data grouping
  Interim replication
Extensive evaluation:
  Reliability analysis
  Trace-driven analysis
  Experiments on both local cluster and Amazon EC2
Our work applies to geo-distributed data centers
Reduce cross-rack update traffic
Tolerate a single rack failure

## Slide 8: Append-Commit
Idea: batch updates by deferring parity updates
  Append: append new updated data chunks into append-only log
  Commit: update parity chunks in other nodes
Trade reliability for performance (to be addressed later)
Data Node
Data Node
Parity Node
Parity Node
Update
Append to log
Update
Append to log
Delta
Delta
Delta
Delta
Append Phase
Commit Phase

## Slide 9: Selective Parity Updates
Goal: mitigate cross-rack update traffic due to parity updates at nodes in different racks
Selective parity updates
  Based on
    Patterns of data chunk updates
    Distributions of parity chunks
  Two approaches:
    Data-delta commit
    Parity-delta commit

## Slide 10: Data-delta Commit
Idea: update multiple parity chunks based on the change of each data chunk
  If Rack i has i’ data chunks updated and Rack j stores j’ parity chunks, send i’ data delta chunks from Rack i to Rack j
Rack i
Rack j
D2
D1
Generate new parity chunks:
Pi’ = Pi + a1i D1+ a2i D2
D1’
D2’
P1
P2
P3
i’ = 2; j’ = 3

## Slide 11: Parity-delta Commit
Idea: update each parity chunk by aggregating changes of multiple data chunks
  If Rack i has i’ data chunks updated and Rack j stores j’ parity chunks, send j’ parity delta chunks from Rack i to Rack j
Generate new parity chunks:
P1’ = P1 + a31D3 + a41D4 + a51D5
P2’ = P2 + a32D3+ a42D4+a52D5
Rack i
Rack j
a31D3 + a41D4 + a51D5
a32D3+ a42D4+a52D5
P1
P2
D3’
D4’
D5’
i’ = 3; j’ = 2

## Slide 12: Selective Parity Updates
Choose the best in commit phase in each iteration
  Use data-delta commit when i’ j’
  Use parity-delta commit when i’ > j’
Not necessarily theoretically minimum
  Some data update patterns and erasure codes allow less cross-rack update traffic
Cross-rack update traffic = min{i’, j’}

## Slide 13: Data Grouping
Relocate updated chunks to save update costs in next commits
  Several data chunks of a stripe are likely updated again
  Trade-off: extra swap traffic
Activate data grouping only when there is performance gain
  Details in the paper
Rack 1
Rack 2
Rack 3
Rack 4
Rack 5
swap
Swapping D5’ with D4
P1
P2
P3
D3’
D5’
D2’
D1’
D4

## Slide 14: Interim Replication
How to tolerate loss of updated data chunks before commit?
Idea: store one temporary replica in a different rack for each update data chunk
  Delete the replica after commit
  No storage overhead in long run

## Slide 15: Reliability Analysis
Approaches:
  CAU-0: CAU + 0 interim replica
  CAU-1: CAU + 1 interim replica
  Erasure coding
Results:
  CAU-0 has highest data loss probability
  CAU-1 has same order of magnitude of data loss probability with EC
    e.g., Pcau1 , Pec when
Data loss probability vs. append phase duration

## Slide 16: Prototype Implementation
  Written in C on Linux
  Erasure coding is implemented via Jerasure v1.2
  Multi-threading to parallelize data transmissions
Node
Node
Node
Client
control flow
data flow
Rack
Rack
Appended data chunk
New data chunk
Metadata Server
Chunk Metadata
Node
Replication
Ack
Ack

## Slide 17: Evaluation
Trace-driven analysis
  Microsoft Cambridge Traces
  Grouped by update locality (avg # of stripes updated per 1000 updates)
Local cluster and Amazon EC2 experiments
Compared schemes
  Baseline: update all n-k parity chunks immediately for each update
  PARIX [ATC’17]: data logging + parity updates (more traffic, fewer disk I/Os)

## Slide 18: Trace-driven Analysis
Ten traces with low update locality: RS(16,12) with four racks
Ten traces with high update locality: RS(16,12) with four racks
CAU saves 60.9% and 63.4% of cross-rack update traffic compared to the baseline and PARIX, respectively
  Higher gains for traces with high update locality

## Slide 19: Local Cluster Performance
Update throughput vs. cross-rack bandwidth for RS(9,6)
Higher performance gain by CAU with more limited cross-rack bandwidth
CAU outperforms baseline and PARIX by 41.8% and 51.4%, respectively

## Slide 20: Local Cluster Performance
Update throughput vs. number of updated stripes in appended phase for RS(9,6) and
cross-rack bandwidth = 0.5Gb/s
CAU’s update throughput first increases with the number of updated stripes in append phase, and stabilizes when the number exceeds 10

## Slide 21: Amazon EC2 Experiments
Update throughput for (n,k) = (16,12)
Geo-distributed deployment
CAU improves update throughput by up to 33.8% (wdev_3) compared to PARIX

## Slide 22: Conclusions
CAU is a novel cross-rack-aware update technique that mitigates cross-rack update traffic for erasure-coded data centers
  Selective parity updates, data grouping, and interim replication
Reliability analysis
Prototype implementation of CAU
Extensive trace-driven analysis and local cluster and Amazon EC2 experiments
Source code:
  http://adslab.cse.cuhk.edu.hk/software/cau